Palomar Mountain Mutual Water Co., Inc.

Minutes of the Regular Meeting of the Board of Directors

6-11-2016

The meeting was called to order at: 8:30 AM

Directors Present:  Martin Marugg, Mark Thompson, Sue Hanson, Brian Wagner, John Lesac, and Glenn Borland

Directors Absent: Kent Miller

Also present:  Mike Probert [Operator], and Joanne Marugg [Past President] and Linda Thorne [Office Manager].

The minutes of the April meeting were approved.

Operator’s Report:  [Mike Probert]

[See Operator’s Diary and well and pump data]

Well	 	May 2016	June 2016	April 2016	June  2015

Darby		Dry		Dry 		Dry		Dry

Pedley #3	31.3		29.7’		30.2’		31.3’

Pedley #5	34.1’		31.4	             34.1		34.1’

Pedley Pond is a puddle.

Average water use: 7800 gpd

Chlorine levels: 0.4, 0.3, 0.1

No coliform

Meters read for share transfer:

5-28-16:  Mike turned on the Troutman meter [#36].  He needed to make a repair to the shut-off valve.  In the three years the meter was locked-off a tree root put pressure on a joint and broke it.  The repair was made and the meter turned on.

5-30-16:  Mike and Nathan read the meter for the annual billing.  It took 8 hours.

6-7-16:  Mike had to make a leak search.  He found a leak at the County Part [Meter#142].  He located the leak and shut off the valve in the park.  Total water loss is around 20,000 gallons.  Mike notified the park ranger.

Secretary’s Report: [Glenn Borland]

Share transfers and Pending Escrows:   Please see Water share transfer spreadsheet as part of these minutes.

Martin went to the County for information on the property formerly owned by Nasser Mousavizadeh [#195-no meter]. We were unaware that the property had changed ownership. The new contact information is Brian J. Collins at Pinsco Trust.  We will just let the bills accumulate until we get more information. New Info:  Through good detective work, Martin has now found that the trust is out of business.

We never got the check for the Slight( Snyder escrow.  Martin asked Linda to send him info on this sale.

He will try to find out what happened.  Martin straighten this out.  We should get a check soon.

Treasurer’s Report:  [Sue Hanson]

See financials included with these minute

Sue review the financials.  We are doing well. Expenses are down [approx. $11,000] because there have been few needed repairs.   One outstanding water bill was paid off [approx. $5,000].   SDG&E is back on track with their billing.

Sue say that is willing to work on a grant for new tanks if we let her know soon.  The grant application must be done by next January.

Old business/New Business:

Software:  Brian has fixed the meter reading worksheet.  It has been printed out for Mike.

He will read the meters on Memorial Day.

Mike and Nathan have the meters and so we must prepare the billing report for Debbie T.   Brian and Linda will talk about software after the meeting.

Pedley Breaker Box:  We contacted Stehly many months ago, but they have been very busy.  There is no real rush about this, but the box is a mess.  We need a new breaker box and the cobweb of wiring needs to be straightened out.  Mike is checking out Heritage Well Company for possible Stehly back-up.

Mike has contacted heritage Well Co. about the breaker box fix.

Comments from Board Members:

Sue Hanson:  Sue is willing to work on a grant for a new water tank if we give her enough notice.  This must be done by Jan.1, 2017.   [See above]

John Lesac:  John will upgrade the web site, and write a report on it for the Newsletter

Mike Probert:  The PNVFD will be staffed full time for next year with the Cal Fire Reserve.

The meeting was adjourned at 9:05 AM

Next Meeting:  July 8th, 2016 at 8:30 A.M.

Respectfully submitted:

Linda Thorne [Office Manager]

June 23rd 2016