Palomar Mountain Mutual Water Co., Inc.

Minutes of the Regular Meeting of the Board of Directors

4-8-17

The meeting was called to order at: 8:30 AM

Directors Present:  Martin Marugg, John Lesac,, Brian Wagner and Brett Michael Hauser, Kent Miller and Mark Thompson

Directors Absent: Sue Hanson

Also present:  Mike Probert [Operator, Linda Thorne [Office Manager], and Joanne Marugg [Past President].

The minutes of the February meeting were accepted after editing by Brett Michael Hauser and Joanne Marugg.

Motion of acceptance Brett Michael and John

Operator’s Report:  [Mike Probert]

[See Operator’s Diary and well and pump data]

Well	 	Feb 2017	Feb 2016         March 2017  	April 2017   April 2016

Darby		Dry		Dry 		?		?		dry

Pedley #3	20.5’		38.5’		18’		12’		29’

Pedley #5	22.4’	             37.9’		15’		14’		30’

The wells levels are very good.

Average water use: 6,600 g/day

Chlorine levels: 0.4, 0.3, 0.1

No coliform

Meters read for share transfers:  0

Meters unlocked:  1 Zeus #43.  New meter

Emergency Calls:

Leak Search:

Testing:  SOC waived

Mike picked up and transferred mosquito fish to the pond per Martin’s instructions.

Mike replaced and turned on the old Murray meter.  The property was sold to Zeuch.

All back bills were paid through escrow.

Darby road is scheduled to be cleaned up by Mike and Tom Fortney.  It is a mess.

Then we will info on the Darby well level.

Secretary’s Report: [Brett Michael Hauser]

Share transfers and Pending Escrows:   Please see Water share transfer spreadsheet as part of these minutes.

Linda reviewed the spreadsheet.  Some of the escrows were long and difficult No one has complained about the $ 500 transfer fee.

The EAR report has been filed [Linda] as well as other necessary docs.  The 2017 Insurance is almost complete. The CCR is probably the last spring report.  It will be finished and filed this month.

Treasurer’s Report:  [Linda Thorne]

See financials included with these minutes

Linda reviewed the financials.  The financials through February look good.  No surprises.  We are on track.

The AR’s from the January bills were reviewed.  Some late payments have come in.  Linda will record these and let Mike know who needs to be posted with a 48 hour shut-off notice.

Old business/New Business:

DEH Fee increase: [Last Month] The DEH is increasing their fees by 35%.  Martin attended a meeting with the DEH. Representatives from other small water companies also attended.

Martin convinced them to increase their fee by only 2.5% yearly for the next seven years.

This month:  There will be another meeting on Monday May 10th.  Martin will attend this meeting.  There may be some change in the yearly fee increase.

Pedley Electrical:  Still pending. Also, Stehly will need to pull the pump from well #4 and remove the 5 hp pump.  Well #4 is not producing.

Tampering with meters, removing locks:  The Sydney Murry [Fanny Mae] property is now in escrow.  At this point we do not know who cut off the lock.  This property has been sold, all fees paid, a new pump installed and water turned on.

The meeting was adjourned at approx. 9:30 AM

Next Meeting:  May 13, 2017 at 8:30 A.M.

Respectfully submitted:

May 3, 2016

Linda Thorne [Office Manager]