Palomar Mountain Mutual Water Co., Inc.

Minutes of the Regular Meeting of the Board of Directors

8-11-18

The meeting was called to order at: 8:35 AM

Directors Present:  Joanne Marugg, Brett Michael Hauser, Glenn Borland, Walt Johnston and Kent Miller

Directors Absent:

Also present:  Mike Probert [Operator and Martin Marugg [Past President]

Shareholders Present:  Marlene Sharp, Sue Hanson, and Justin and Jackie Davis [new shareholders who purchased the Grave’s house]

Minutes:  Last month’s minutes were corrected and approved

Operator’s Report: [Mike Probert]

[See Operator’s Diary and well and pump data]

Well	 		Aug 2018	July 2018   August 2017

Darby		         39.5’

Pedley #3		31’		27.7’			16’

Pedley #5		33.6’ 	          33                        20’

Average water use: 11,000gallons/day

Chlorine levels: 0.5, 0.4, 0.2

No coliform

Meters read for share transfers:

Meters replaced:  Fire Department

Emergency Calls:

Leak Search: 0

Testing:  Coliform

Mike’s Report

7-1-15:  I delivered sample bottles for the Lead and Copper test.  At meter #162 I found a broken hose on an automatic sprinkler system. The shareholders were on vacation. I turned off the hose bib and left a message.  The shareholder has not been in touch.  Automatic sprinklers are not allowed.

7-4-18:  I received a call from Nick Sloan who is in charge of the County Park.

He reported that water on a keyed hose bib had an odor. I used the drinking fountains and found that the water was clear and odorless.  We will keep a watch on it.

7-31-18:  The Fire Department reported very low water pressure and sometimes no water pressure.  It had been sporadic for two weeks.  We dug up the meter box and changed the meter.  Before the meter was replaced we checked for flow and found that there was plenty of flow.  We noted that the pressure reducer was old and corroded.  I recommended that it be replaced and install a 3K gallon portable tank with a pressure pump.  This is a Cal-Fire responsibility.

Mike and Linda went to a homeland security workshop.  Most of the attendees were from large water companies. If there are security problems call homeland security before the police of FBI.  Mike will put a new sign in Pedley Valley.

The 40K tank is now splitting in two places.  The liner is the only thing holding the water

The Building Department has signed off on the new tank.  The project has been “Red Stamped”.  Finally!!

Brett asked when the installation would start.  Mike replied that hopefully it would be about Oct. 1st.

The Board discussed vacation rentals.  We may have a problem if many people come up on the same day.

Secretary’s Report [Brett Michael Hauser]

See share transfer report as part of these minutes

Brett will read the names of the new shareholders at the Annual Meeting

.

Treasurer’s Report: [Brett Michael Hauser]

See financials included with these minutes

Brett reviewed the financials.  SDG&E will be increasing rates on our five accounts.  The phone bill has increased.  Brett will review the yearly financials at the Annual Meeting

Comments and questions from shareholders attending the meeting:

Sue Hanson:  Sue stated that the Water Company should have notified shareholders about the meeting cancellation. She also wants to know why the meeting was cancelled.

Joanne said that it was cancelled on short notice because of nth number of Board Members that couldn’t attend.

Brett said we should have information about “Beat the Heat, --A cool place for people to say if gets too hot..

.

The meeting was adjourned at 9:30 AM

Next Meeting will be the Annual Meeting on Labor Day.

Respectfully submitted:

Linda Thorne

Aug. 20, 2018